Kastello

Exposed Shower Only Mixer

FFAS1612-701500BC0

FEATURES

- A grade brass, strong and durable

- High quality ceramic valve for longer usage

- Ceramic cartridge tested = 500,000 times

- W/ 5F hand shower kit

- With normal packaging

- Flow rate @ 0.1MPa: 6 L/min for shower

SPECIFICATIONS

Shower only mixer

Exposed Installation: lever handles (cold & hot)

FINISHES AVAILABILITY

Chrome (- CP)

AWARDS WON

N/A

SHIPPING WEIGHT

Product gross weight:  3.7 kg

Product net weight:  3.4 kg

STANDARDS CRITERIA

GB 18145-2014

This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.

American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.

# Text boxes

DIMENSIONAL DRAWING