Kastello

Concealed Bath & Shower Mixing Valve

FFAS1621-608500ZC0

FEATURES

- A grade brass, strong and durable

- High quality cycle ceramic valve for longer usage and safety

- Ceramic cartridge tested = 500,000 times

- 2-way diverter for spout and shower head

- Brass escutcheon, Chrome Finish

- Without spout & shower kits

- Must work with u-box

- This product don’t contain u-box kit

- With normal packaging

- Flow rate @ 0.1MPa: 13.3 L/min for spout outlet

- Flow rate @ 0.1MPa: 13.9 L/min for shower outlet

SPECIFICATIONS

Concealed bath & shower mixing valve

In-wall installation

Lever handle (cold & hot)

FINISHES AVAILABILITY

Chrome (- CP)

AWARDS WON

N/A

SHIPPING WEIGHT

Product gross weight: 2.4 kg/set

Product bet weight:  2.1 kg/set

STANDARDS CRITERIA

GB 18145-2014

This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.

American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.

# Text boxes

DIMENSIONAL DRAWING