Signature

Exposed Bath & Shower mixer with integrated Rainshower kit

FFAS1772-701500BC0

FEATURES

- A grade brass, strong and durable

- Grohe High quality ceramic valve for longer usage

- Ceramic cartridge tested = 500,000 times

- With Ceramic 3-way diverter cartridge

- With Rainshower kit

- With 3F hand shower (air in)

- With Easy-slide shower holder

- With 1.5m Silver Twist-free shower hose

- With normal packaging

- Flow rate @ 0.1MPa: 7.5 L/min for Spout

- Flow rate @ 0.1MPa: 5.1 L/min for shower head

- Flow rate @ 0.1MPa: 4.6 L/min for hand shower

SPECIFICATIONS

Exposed Bath & Shower Mixer Faucet

2-Hole Installation: lever handle (cold & hot)

FINISHES AVAILABILITY

Chrome (- CP)

AWARDS WON

N/A

SHIPPING WEIGHT

Product gross weight:  8.0kg /set

Product net weight:  5.93kg /set

STANDARDS CRITERIA

GB 18145-2014

TIS 2066-2552

This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.

American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.

# Text boxes

DIMENSIONAL DRAWING